| Cleaning/replacing the valves |  |  |
| --- | --- | --- |
| 1. Filling valve Pull out the recirculation tube and the telescoping filling tube (Fig. a). Use the mounting tool to unscrew the filling valve (Fig. b). If the sealing ring is contaminated or damaged, carefully remove it with a pair of curved forceps (Fig. c). Insert cleaned or new sealing ring. Screw in the cleaned (e.g., in an ultrasonic bath) or new filling valve first by hand and then tighten it with the mounting tool. 2. Discharge valve The discharge valve is incorporated in the discharge tube. For cleaning see page 48. If necessary remove discharge tube and clean it e.g. in an ultrasonic bath. Mount cleaned or new discharge tube see page 38. 3 SafetyPrime™ recirculation valve For cleaning see page 48. If necessary remove recirculation valve and clean it e.g. in an ultrasonic bath. Mount cleaned or new recirculation valve see page 38. |  |  |