5 Panel Home Urine Test Kit

5 Panel Home Test Kit

This product is a home test kit which tests for THC, Opiates, Cocaine, Amphetamines and PCP. This test also tests at the same levels as a laboratory test. The cutoff level for the test is 50 ng/ml the same as used in the labs for DOT Tests. The Home Test kits are 98% accurate for testing your system for toxins only, not to see if a detoxifier works.

- Urinate in a clean, dry, disposable cup.

- Open the foil pouch along the "notch" Remove the testing device from the foil pouch. (Do not open pouch until you are ready to begin the testing procedure).

- Remove the protective cap and place the revealed strips into the urine sample for 10 seconds. (Do not allow the urine sample to touch the plastic device.)

- Read the results after 5 minutes.

Observe the two color lines: the control line in the "C" region of the test area, and the test line in the "T" region of test area.

Positive: A reddish line is visible in each control zone and no line appears In the appropriate test zone indicates a positive result for that specific test zone.

Negative: A reddish line is visible in each control zone and the appropriate Test zone, indicating that the concentration of that specific test zone is below the Detection limit of the test. Invalid: If a reddish line is not visible in each of the control zones, the test is considered invalid. Verify the test procedure and repeat the test with a new testing device. (Note: there is no meaning attributed to line color intensity or width.)

Home Five Panel Urine Drug Test Kit

This product allows you to test your urine for the presence of opiates, tetrahydrocannabinol ("Marijuana"), phencyclidine ("PCP"), amphetamines and cocaine or their remnants right at your home. The quality of the test is identical to the quality of drug tests that are performed in laboratories. In order for the test to indicate positive result your urine must have drug concentration higher than 50 nanograms/milliliter. This cut-off level is recommended by The Substance Abuse and Mental Health Services Administration (SAMHSA) for this kind of tests. The actual accuracy of this test in revealing drug toxins is 98%.

Instructions:

- Collect your urine in a disposable cup. The cup should be dry and clean.

- Tear the foil package along the mark and take out the test device.

- Open the protective cover on the test device and put the uncovered strips into the cup with your urine. After 10 sec. you may take them out. Warning: make sure that the urine doesn't get in contact with the plastic device.

- In five minutes the test results will be ready.

How to Interpret the Test Results:

Five minutes after the test is complete red colored lines will appear in the test area of the device. The ones in the "C" zones are the control lines and the ones in the "T" zones are the test lines.

- If a red line appeared in every control zone, but there's nothing in some of the test zones, then the results for these test zones are POSITIVE.

- If red lines are visible in all control zones and there are also reddish lines in some test zones, then the results for these test zones are NEGATIVE (the concentration of these drugs in your urine is lower than 50 ng/ml).

- If there are one or more control zones without the red colored line, then something is not right and the current test is INVALID. Check if you did everything correctly and do the test procedure again (a new test device is required).