Parliament of the ……..

METROLOGY LAW

No

* * *

Content

Chapter I

GENERAL PROVISIONS

Article 1. Legislation on metrology

1."> Article 11. Technical terms used in this law

2.">Article 12. Metrological national system

Article 2. Administration in the field of metrology

Article 3. Normative documents in the field of metrology

Chapter II

LEGAL UNITS OF MEASUREMENT

Article 4. International System of Units

Article 5. Excluded

Article 6. The use of units of measurement in export operations

Article 7. Dissemination of units of measurement

Chapter III

MEASURING INSTRUMENTS

Article 8. Measurement standards

1.">Article 81. Classification of measuring instruments

Article 9. Requirements to measuring instruments

Article 10. Requirements to measurements

Chapter IV

LEGAL METROLOGICAL CONTROL

Article 11. Fields of exercise of the legal metrological control (fields of public interest)

Article 12. Legal metrological control of measuring instruments

Article 13. Legal metrological control of measurements

Article 14. Legal metrological control of prepackaged production

Article 15. Liability of persons and corporate bodies in the field of legal metrology

Article 16. State inspectors for the metrological supervision and control

Article 17. Rights of state inspectors

Article 18. Responsibility of state inspectors

Chapter V

(Excluded)

Chapter VI

INTERNATIONAL RELATIONS IN THE FIELD OF METROLOGY

Article 28. The status of Central Metrology Authority and National Metrology Body in international relations

Article 29. Recognition of the results of measuring instruments testing, calibration and verification.

Chapter VI1

TRANSPARENCY OF METROLOGICAL INFORMATION

1.">Article 291. Access to any result of measurements representing public interest

2.">Article 292. Information concerning documents and registers of National metrology system

Chapter VII

LIABILITY FOR INFRINGEMENT OF THIS LAW

Article 30. Administrative, criminal and civil liability

Article 31. Property liability of business entities for infringement of metrological requirements

Chapter VIII

FINANCING OF METROLOGICAL ACTIVITY

Article 32. Financing of public metrological activity

Article 33. Financing of business entity metrological activity

Chapter IX

(Excluded)

The parliament adopts this law.

This law establishes the bases of legal metrology and ensures the uniformity and accuracy of measurements, provides the protection of persons and corporate bodies regardless of the kind of a property and organizational - legal form against detrimental consequences of wrong or unreliable measurements results.

Chapter I

GENERAL PROVISIONS

Article 1. Legislation on metrology

The legislation on metrology consists of this law and other normative acts adopted on its basis.

1.">Article 11. Technical terms used in this law

The following technical terms are used in this law:

type approval - decision of legal relevance, based on the evaluation report, that the type of a measuring instrument complies with the relevant statutory requirements and is suitable for use in the regulated area in such a way that it is expected to provide reliable measurement results over a defined period of time;

metrological assurance - all the regulations, technical means and operations, necessary for warranting of measurements results reliability in legal metrology;

legal metrological control - the whole of legal metrology activities which contribute to metrological assurance. Legal metrological control includes legal control of measuring instruments, metrological supervision and metrological expertise.

measurement standard (standard) – a measuring instrument, intended to define, realize, conserve or reproduce of a given quantity or one or several quantity values, used as a reference;

international measurement standard (international standard) – the standard recognized by an international agreement as a basis for attribution of values to other standards of given quantity;

national measurement standard (national standard) - the standard designated in country by national decision as basis for attribution of values to other standards of given quantity;

reference measurement standard (measurement standard) – the standard, as a rule, of the highest metrological quality, available at a given location or in a given organization from which derivate the measurements carried out at a given location or in a given organization;

calibration – set of operations that establish relationship between quantity values indicated by a measuring instrument or measuring system and the corresponding values realized by reference measurement standards, carried out under specified conditions and including evaluation of measurement uncertainty;

accuracy of measurement - closeness of agreement between a quantity value obtained by measurement and the true value of the measurand;

accuracy of measuring instrument - ability of a measuring instrument  to provide a quantity value close to the true value;

uncertainty of measurement – parameter, associated with measurement result, that characterizes the dispersion of the quantity values that are being attributed to a measurand;

inspection of a measuring instrument – examination of a measuring instrument to ascertain all or some of the following:

-  verification mark and/or certificate is valid;

-  no sealing marks are damaged;

-  after verification the instrument suffered no obvious;

-  its errors do not exceed the maximum permissible in-service error;

type approval mark – mark applied to a measuring instrument certifying its conformity to the approved type;

verification mark – mark applied to a measuring instrument certifying that the verification of the measuring instrument was carried out with satisfactory results;

reference material – measuring instrument, material or substance, sufficiently homogeneous and stable with respect to one or more specified quantities, used for the calibration of a measuring system, or for the assessment of a legal measurement procedure, or for assigning values to quantities of the same kind for other materials or substances.

measurement – all the operations , performing to determinate the magnitude of a quantity;

measurand – particular quantity intended to be measured;

metrology – science of measurements, including both theoretical and practical aspects concerning measurements at any uncertainty and in any field;

legal metrology – part of metrology relating to activities which result from statutory requirements and concern measurement, units of measurement, measuring instruments and legal measurement procedure and which are performed by competent bodies;

measuring instrument – measure, measuring device, converter, device, equipment, measuring system, installation and also the reference material, used independently or in a combination with one or several additional devices, giving out the measuring information;

legal measuring instrument – measuring instrument which conforms to requirements, prescribed in regulations on legal metrology;

placing on market of measuring instrument - actions on delivery of any measuring instruments on the market of the Republic of Moldova, including its storage for the purpose of distribution, offer by sale or any other ways of transfer at a charge or gratis;

prepackaged product – production intended for sale, placed in packing in the absence of the end user, thus the quantity of production containing in given packing has the certain value specified on packing, corresponding to nominal value which should not be changed without opening of packing or its damage;

putting into operation of measuring instrument – the first use of measuring instrument by the end user for its intended use purpose;

authorized representative of the manufacturer – person or corporate body having the authorization for entrepreneurial business, with a seat in the Republic of Moldova, authorized by the manufacturer to operate on his behalf;

regulation on legal metrology - obligatory normative document establishing principles, general rules, requirements to legal metrology activities, to measurements, measuring instruments and prepackaged products;

International System of Units (SI) – the coherent system of units adopted and recommended by the General Conference on Weights and Measures (CGPM);

metrological supervision – set of actions including the control exercised in respect of the manufacture, import, installation, use, maintenance, hire and repair of measuring instruments, performed in order to check that they meet the requirements of this law and applied regulations and/or are used correctly in accordance with this law and regulations;

traceability – property of a measurement result or a measurement standard value relating the result to a stated metrological reference, as rule national (reference) or international standards, through an unbroken chain of calibrations of a measuring system or comparisons, each contributing to the stated measurement uncertainty;

unit of measurement - particular  quantity, defined and adopted by convention, with which other quantities of the same kind are compared in order to express their magnitudes;

legal unit of measurement - units of measurement required or permitted by applied regulations;

metrological verification – procedure of legal metrological control by which is established and confirmed, that a measuring instrument meets requirements of regulations on legal metrology;

expertise metrological verification - all the operations for the purpose of examining and demonstrating the condition of a measuring instrument and to determine its metrological properties, amongst others by reference to the relevant technical requirements or applied regulations on legal metrology;

initial metrological verification – verification of a measuring instrument which has not been verified previously;

mandatory periodic verification - verification of a measuring instrument, carried out periodically at specified intervals according to the procedure laid down by the regulations.

[Art.11 included by law  No 222-XVI of  25.10.2007, came into force 21.06.2008]

2.">Article 12. National metrology system

Infrastructure of National metrology system comprise:

a)  central metrology authority – the central field body of public administration in the Government, responsible for a quality infrastructure, - Standardization and Metrology Service;

b) National Metrology Institute;

c) System of national measurement standards;

d) National Technical Committee on Metrology;

e) territorial metrology centers;

f) metrological services of corporate bodies;

g) metrological inspection body.

[Art.12 included by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 2. Administration in the field of metrology

(1) Elaboration and conducting of policy in the field of metrology, administration and coordination of metrological activities at the national level are performed by the central metrology authority.

(2) Central metrology authority performed the following functions:

a) elaboration and coordination of the implementation of the nationwide metrology policy;

b) elaboration of legal framework and participation in elaboration and coordination of projects of normative acts with the purpose of assurance of measurements results traceability to the International system of units (SI) by means of the procedures recognized and accepted at the international level;

с) coordination of the metrological activities of the central field bodies of public administration, person and corporate bodies carrying out activities in the field of metrology;

d) approval of the legal metrology regulations within the limits of one's competence;

e) coordination of the supervision over persons and corporate bodies performing activity in the field of legal metrology;

f) representation of the Republic of Moldova in the regional and international metrology  organizations together with national metrology body;

g) authorization of corporate bodies on carrying out of verification of the legal measuring instruments and on carrying out of official measurements based on the expert estimation issued by national metrology body;

h) providing of information transparency in the field of metrology;

(3) National metrology institute is designated in the quality of national metrology body by this law. It is corporate body acting on the basis of the statute approved by central metrology authority and requirements of this Law. National metrology body performed the following functions:

а) general metrology tasks:

- realization of policy in the field of metrology at the national level;

- assurance of measurements results traceability by carrying out of comparisons of national reference base at the regional and international levels, maintenance of national and references standards, conservation and dissemination ol legal units;

- organization of research works in association with the Academy of sciences profile institutions for the purpose to improve the national and reference standards;

- carrying out of regular reviews of the country needs relating to the improvement of measurement standards and dissemination of legal units;

- representation of the national reference for estimation of technical competence in the field of metrology;

- providing of consultancy to relevant national bodies, persons and corporate bodies on technical aspects of metrology;

- participation in international and regional forums and organizations in the field of metrology;

- carrying out of calibrations on the basis of System of national measurement standards;

- education and refresher training of metrological experts on legal metrology, technical experts on metrology and verification officers;

b) legal metrology tasks:

- carrying out of technical works in the field of legal metrology (the type approval, initial, periodic and expertise metrological verifications of measuring instruments, official measurements, metrological expertise of normative documents projects);

- submission to the central metrology authority of proposals for the technical regulatory requirements;

- execution and issue of type approval certificates and expert estimation of technical competence;

- participation in international an regional forums and organizations in the field of legal metrology;

- realization of interstate agreements about mutual recognition of approval type results, metrological verification results, technical competence of metrological verification, testing and calibration of measuring instruments and reference materials laboratories;

- organization of consultations and technical training regarding legal metrology aspects on persons and corporate body requests;

- elaboration and approve of public education programs in the field of legal metrology;

- providing of consultancy to relevant national bodies, persons and corporate bodies on issues in the field of legal metrology;

- harmonization of national regulations on legal metrology with international and regional practice;

- 	maintenance of state registers of measuring instruments, legal procedures of measurements, legal metrological norms (NML) and entities registered in the National metrology system;

- state registration of legal metrological norms, legal procedures of measurements, persons and corporate bodies which carry out activities on repair, sale, hire and installation of measuring instruments and persons and corporate bodies manufacturing, importing or prepackaging goods;

-  elaboration of legal metrology regulations;

-  coordination of elaboration of legal metrological norms and  legal procedures of measurements by interested parties;

-  providing of technical support at the measuring instruments inspection and metrological supervision.

(4) System of national measurement standards is a technical basis which ensure conservation an dissemination of quantity units and is manage by national metrology body.

(5) National technical committee on metrology is forming to the national metrology body of domestic dedicated experts. It takes decisions within the limits of one's competence, stipulated in its Regulation approved by central metrology authority.

(6)  Territorial metrology centers are corporate bodies subordinated to central metrology authority, designated to perform the following functions:

а)  realisation on site of state policy in the field of metrology;

b)  dissemination of legal quantity units by performing verifications and calibrations of measuring instruments;

c)  providing of inspection bodies with standards of quantity units, needed at inspection of measuring instruments and metrological supervision;

d)  performing of metrological expertise of normative acts projects and measuring instruments;

e) performing of other missions, entrusted by central metrology authority.

(7) Metrological services of corporate bodies, including subordinated laboratories are created to ensure the uniformity and accuracy of measurements in the respective fields of activity.

(8) Metrological inspection body is the control body on behalf of the government and is subordinated to central metrology authority. Metrological inspection body carries out without charge the legal metrological control regarding the observance by persons and corporate bodies of normative acts requirements in the field of metrology, relevant to:

а) adequate use of quantity units and their notations;

b) liabilities of users of legal measuring instruments;

c) liabilities of manufacturers and importers of measuring instruments before placing of these instruments on market;

d) conditions of activities performing by persons and corporate bodies authorized for activities in the field of metrology and registered in correspondence with prescribed requirements;

e) correspondence of parameters of legal measuring instruments with approval type;

f) liabilities of manufacturers and importers of prepackages;

g) metrological assurance of prosseces and services;

h) metrological requirements, stated in technical regulations and legal metrology regulations.

[Art.2 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 3. Normative documents in the field of metrology

(1) Central metrology authority ensure the elaboration and adopt the legal metrology regulations applicable in the field of metrology which prescribe obligatory requirements to measuring instruments, reference materials, measurements, prepackaged goods and legal metrological control.

(2) As regulations on legal metrology are considered:

а) general regulation on legal metrology, stated general provisions and rules specific for legal metrology activities, which is identify by symbol RGML;

b) legal metrological norm prescribed technical and metrological requirements for certain types of legal measuring instruments, which is identify by the symbol NML;

c) legal procedure of measurement stated operations described in concrete mode, used at carrying out of official measurements, testing of production subject to conformity assessment, carrying out of measurements in the fields of public interest and which is identify by the symbol PML;

d) The interstate normative documents, applicable in the field of legal metrology, adopted at the national level.

(3) Before elaboration and adoption of regulations on legal metrology, normative acts in force in the field of metrology are applied;

(4) Requirements prescribed in technical regulations applying in the field of metrology and in legal metrology regulations are mandatory for persons and corporate bodies, carrying out activity in the fields of public interest, listed in paragraph (1) of article 11.

(5) The elaboration of normative acts, applicable in the field of legal metrology is based on national legislation, International Recommendations of the OIML and European directives in metrology.

(6) The technical regulations which contain or in dependence of object of regulation should contain requirements to measurements and measuring instruments are subject to obligatory metrological expertise.

(7) The metrological expertise of technical regulations elaborated by other regulating bodies, will be organized by national metrology body and carried out by experts on metrology according to requirements of legal metrology regulations.

[Art.3 as amended by Law No 222-XVI of 25.10.2007, , came into force 21.06.2008]

Chapter II

LEGAL UNITS OF MESUREMENT

[Name as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 4. International System of Units

(1) For ensuring the uniformity and accuracy of measurements carrying out in the fields of public interest, listed in paragraph (1) of article 11, in the Republic of Moldova are mandatory the use of legal units of measurement.

(11) The Legal units of measurement are the folowing:

а) units of the “International System of Units” (SI), their multiples and subdivisions of units, adopted by the General Conference of Weights and Measures, recommended by the OIML and specified in regulation on legal metrology;

b) units that are not covered by the SI, but used among with SI units.

(2) The Legal units of measurement are approved by regulations on legal metrology, where are specified names, notation an definitions oh this units, values of units that are not covered by the SI, but expressed in terms of SI.

[Art.4 amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

[Art.5 excluded by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 6. At the production export, including measuring instruments can be used and other unities of measurement, not provided by normative documents in the field of metrology, but agreed by the contracting parties.

[Art.6 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 7. Dissemination of units

(1) The uniformity and accuracy of measurements in the Republic of Moldova is ensured by a complex of the organizational-technical measures including activities on dissemination of units from national measurement standards to other standards and further to working measuring instruments.

(2) The dissemination of units from national standards to other standards is performing by calibration.

(3) The traceability of the measurements results executed by means of measuring instruments subjected to the legal metrological control is provided through verifications executed by verification laboratories, according to this law. For these purposes are used standards with traceability to national or reference standards of the Republic of Moldova or other countries which in its turn have traceability to international standards.

(4) The routine of the creation, approval, conservation and application of standards, their comparisons, inclusive with international standards and standards of other countries, as well as the routine of dissemination of unities by means of calibrations and verifications are establish by national metrology body.

[Art.7 amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Chapter III

MEASURING INSTRUMENTS

Article 8. Standards of units of measurement

(1) National and reference standards constitute the reference basis of the country as a component part of National system of measurement standards and are approved at the proposal of national metrology body via normative acts by the central metrology authority.

(2) The national and reference standards are the objects of public property; maintained, compared at the international level with traceability to national standards of other countries; improved, conserved and applied by entities designated by central metrology authority with the  cover of costs necessary for these purposes from the state budget.

[Art.8 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

1.">Article 81. Measuring instruments classification

In function of the application purpose and irrespective of the construction or characteristics measuring instruments are classified on:

а) standards;

b) legal measuring instruments;

c) reference materials;

d) measuring systems;

e) instrument with measuring functions.

[Art .81 included by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 9. Requirements to measuring instruments

(1) Measuring instruments should meet the requirements of this law and other normative acts adopted on its basis, and also the requirements of normative and operational documents which have relevance to measuring instruments.

(2) Criteria of reference of technical means to measuring instruments are established by national metrology body.

(3) The legal measuring instruments should give the results of measurements in legal units, specified in paragraph (11) of article 4. Results of measurements should provide traceability to SI.

(4) The reference materials intended for reproduction, conservation and dissemination of units of measurement applied in the field of public interest are subject to the legal metrological control. The order of development, approval and registration of reference materials is established in applicable regulations on legal metrology.

[Art.9 complemented by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 10. Requirements to measurements

(1) The measurements which results are used in the fields of public interest, listed in paragraph (1) of article 11, should be carried out according to the technical regulations applicable in the field of metrology and regulations on legal metrology and should be traceable in accordance with paragraph (3) of article 7.

(2) Official measurement is a kind of measurement which is carried out in the fields of public interest, listed in paragraph (1) of article 11 by corporate bodies designated by the central metrology authority.

(3) The official measurement is carried out:

а) on the basis of normative acts requirements;

b) by the decision or at the request of state body;

c) at the request of persons or corporate bodies.

(4) The official measurements are carried out with legal measuring instruments in conformity with legal procedures of measurement, approved by national metrology body.

[Art.10 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Chapter IV

LEGAL METROLOGICAL CONTROL

[Chapter IV as amended by Law No 222-XVI от 25.10.2007, в силу 21.06.2008]

Article 11. Fields of performing of legal metrological control (fields of public interest)

(1) To legal metrological control are subject measuring instruments used for measurements which are carried out in the fields of public interest, as followed:

а) health and safety of the population;

b) public order;

c) protection of environment;

d) protection of the consumers rights;

e) collection of payments and taxes;

f) commercial transactions and operations;

g) quality assurance of production, processes and services;

h) maintenance of national security and defence;

i) other fields of public life established by the Government where measurements or wrong measurements results can affect expressly or by implication the life of people or interests of persons and/or corporate bodies.

(2) Activities of persons and corporate bodies whose object are measuring instruments and measurements in the fields listed in paragraph (1) of this article, are subject to the legal metrological control through registration, issue of expert estimations and carrying out of metrological supervision.

[Art. 11 as amended by Law No 222-XVI of 25.10.2007, came intoforce 21.06.2008]

Article 12. Legal metrological control of measuring instruments

(1) To the legal metrological control are subject the measuring instruments intended for carrying out of measurements in the fields of public interest, listed in paragraph (1) of article 11, and included in the Official list of the measuring instruments subjected to the legal metrological control. The control is carried out as before placing of these means on the market, so throughout their application. To the legal metrological control is subject also the software used in measurements carried out in the fields of public interest, listed in paragraph (1) of article 11.

(2) Official list of the measuring instruments subjected to the legal metrological control specify the measurements carried out in the fields of public interest listed in paragraph (1) of article 11, categories and assortment of the measuring instruments applied to these measurements, assortment-specific modalities of carrying out of the legal metrological control and maximum admissible interval between two subsequent verifications. The mentioned list is adopted by the central metrology body and is published in the Official Gazette of the Republic of Moldova.

(3) Before placing on market and putting into operation of the measuring instruments used in measurements in the field of public interest listed in paragraph (1) of article 11, the legal metrological control over them is carried out according to requirements of regulations on legal metrology in the following ways:

а) type approval;

b) initial verification;

c) registration;

d) metrological supervision.

To Metrological supervision are subject also the measuring instruments being on the market.

(4) The measuring instruments included in the Official list of measuring instruments, subjected to the legal metrological control, manufactured in the country or imported, obligatory are subject to type approval procedure (legalization). The decision regarding type approval of a measuring instrument and its inclusion in the State register of the measuring instruments, allowed to application in the Republic of Moldova, is making by national metrology body with issue of the type approval certificate.

(5) The measuring instruments used for measurements in the fields of public interest listed in paragraph (1) of article 11, which are in the possession of persons or corporate bodies, authorized for entrepreneurial business are subject to the legal metrological control in the following ways according to regulations on legal metrology:

a) periodic verification;

b) verification after repair;

c) off-schedule inspection and testing;

d) metrology supervision over the state and application of measuring instruments, including the software, used in measurements carried out in the fields of public interest listed in paragraph (1) of article 11, as well as over the application of legal procedures of measurements.

On request of persons or corporate bodies may be carried out the expertise metrological verification of the legal measuring instruments, being in their possession, with the purpose to determine the metrological characteristics of this means.

(6) The legal metrological control of the measuring instruments whose modalities are specified in (3) and (5), are carrying out on the basis of technical documentation on measuring instruments and other relevant documents, presented by owners of measuring instruments, according to requirements of regulations on legal  metrology.

(7) Expenses for works, specified in points a) and b) of paragraph (3) and points a) and b) of paragraph (5), are carried by the owner of measuring instruments.

(8) The measuring instruments, accepted as corresponding during the legal metrological control whose modalities are specified in points a) and b) of paragraph (3) and points a) and b) of paragraph (5), are considered as legal measuring instruments for which the type approval certificate and verification certificate are issued and also are apply in appropriate mode the following  metrological marking:

a) approval mark;

b) verification mark.

For providing of safety and integrity of measuring instruments on them can be apply and other marks (safety, installation or repair marks etc.).

(9) For the measurements carried out in the fields listed in paragraph (1) of article 11, is forbidden the use of measuring instruments without metrological marks or with damaged, changed, removed marks or with the expired term of periodic verification marks.

(10) Graphic representation, conditions of application and/or recognition of the metrological marks and specific documents are established in regulations on legal metrology.

(11) Type approval certificates, verification certificates and applied metrological marks, are legally protected.

(12) Measuring instruments which during the legal metrological control have been stated as unfit (if there is no type approval mark, verification mark, type approval certificates, verification certificates and calibration certificates or with false mentioned documents, with damaged, changed, falsified or removed metrological marking) or that on which are applied metrological marks with the expired terms, are not considered as legal measuring instruments.

(13) Placing on market, putting into operation, or using for measurements in the field of public interest listed in paragraph (1) of article 11 of measuring instruments which have been not accepted as legal measuring instruments, is forbidden. Owners, as well as users of these measuring instruments are obliged to withdraw them from the market or removed from use.

(14) If the fact of using of the measuring instruments which have not been accepted as legal measuring instruments, these can be withdrawn by the inspector of metrological inspection body on the basis of the prohibition of use prescription still the adopting of judicial decision about their seizure.

[Art. 12 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 13. Legal metrological control of measurements

(1) The following measurements carried out in the field of public interest listed in paragraph (1) of article 11, corresponded to requirements of regulations on legal metrology are subject to the legal metrological control:

a) measurements carried out at commercial transactions, or measurements on which basis the costs for public objects, tariffs, damages, taxes are established.

b) measurements of quantities which can affect the vital interests of people, such as concentration of sugar and concentration of alcohol in drinks, concentration of fats in food products, hectoliter weight and humidity of grain, speed of motor transport, concentration of alcohol in blood, etc.;

c) measurements of quantities which can affect the health and safety of people, and also environment, such as the content of organic and metal pollutants in water, pesticides and other toxic substances, exhaust gases of motor transport etc.;

d) measurements connected with prepackaged production, containing the established quantity that are specified by labeling or in other form, as well as with production with the declared weight, without its prepackaging.

(2) The measurements carried out according to regulations on legal metrology without measuring instruments subjected to legal metrological control are carried out by calibrated measuring instruments according to prescribed requirements.

(3) The legal metrological control of the measurements listed in paragraph (1) of this article is performed according to requirements of regulations on legal metrology in the following ways:

а) sampling and carrying out of measurements and comparative analyses for check of accuracy of the declared results of measurements;

b) inspection and off-schedule testing on site where measurement is carried out;

с) approval and registration of legal procedures of measurements listed in paragraph (1) of this article;

d) metrological expertise;

е) supervision over the metrological assurance.

(4) For carrying out of the legal metrological control Metrological inspection body can involve, if necessary, control bodies of the central branch and/or local bodies of public administration.

[Art. 13 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 14. Legal metrological control of prepackaged products

(1)  Prepackaged production is subject to legal metrological control.

(2)  The prepackaged production corresponding to requirements, prescribed in regulations on legal metrology, may be marked by manufacturer (prepacker) or importer before its placing on the market with the letter "e".

(3) Liquid prepackaged production should contain an indication of nominal volume of production, at the same time other prepackaged production should contain indication of nominal mass, values of length, area or other values, characterizing its quantity (content).

(4) The nominal mass or nominal volume of prepackaged production should correspond to the values specified in applied regulations on legal metrology.

(5) For conformity of real quantity of production in package indicated on package are responsible, in dependence of circumstances, the manufacturer (prepacker), importer, person or corporate body who has placed the prepackaged production on the market.

(6) Persons or corporate bodies, authorized for entrepreneurial business that produce, import or carry out prepackaged production, before the beginning of the activity are obliged to be registered at national metrology body, presenting at that the appropriate declaration.

(7) Metrological supervision of prepackaged production is carried out in dependence of circumstances at the manufacturer (prepacker), importer or in the trading network.

(8) Placing on the market, storage, realization of prepackaged production is forbidden, if:

а) the nominal quantity of production is out of the values prescribed in applicable regulations on legal metrology;

b) the effective/real content of production does not meet the requirements about quantity of production, prescribed in applicable regulations on legal metrology;

c) the nominal quantity of production is not marked by the inscriptions prescribed in applicable regulations on legal metrology;

d) on the prepackaged production the manufacturer (prepacker) and/or the importer is not indicated;

е) nominal quantities of the same production in function of mass or volume declaration of quantity are so close to each other that may mislead the consumer.

(9) If the control of prepackaged production is initiated by supervising body, expenses are covered by this body. If the control is initiated by business entity, expenses are covered by him.

[Art. 14 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 15. Liability of persons and corporate bodies in the field of legal metrology

(1) Persons and corporate bodies whose measuring instruments are applied in the field of public interest listed in paragraph (1) of article 11, are obliged not to impede the carrying out of legal metrological control.

(2) Persons and corporate bodies who are carrying out activity in the fields of public interest listed in paragraph (1) of article 11 are obliged to be metrologically assured, to measure production and rendered services by means of the adequate legal and verified measuring instruments in the mode established by this law and regulations on legal metrology.

(3) Persons and corporate bodies are forbidden to use measuring instruments under which the interdict of the state inspector is laid, with premeditatedly changed metrological characteristics or which indications are expressed in illegal units of quantities.

(4) Persons and corporate bodies, whose object of activity are measuring instruments and measurements used in the fields of public interest listed in paragraph (1) of article 11, are obliged to have, as the case may be, following documents:

а) type approval certificate;

b) registry technical estimation;

с) competence certificate – for technical expert in the field of metrology and verification officer;

d) metrological estimation, needed for receiving of multi-activity enterprise license.

е) verification certificate.

(5) The manufacturer or importer of measuring instruments subject to the type approval procedure or his authorized representative should apply the type approval marking according to the prescriptions of regulations on legal metrology.

(6) The manufacturer or its authorized representative, importer or user of measuring instruments are obliged to respect the requirements enforced by the type approval certificate.

(7) The manufacturer or its authorized representative, importer or user of measuring instruments bears responsibility for conformity of the measuring instruments which are not subject to the legal metrological control to requirements prescribed for these means and ensures the traceability of measurements by calibration.

(8) The modalities of measuring instruments calibration are established by national metrology body.

(9) The importer or manufacturer of measuring instruments ensures the repair of means, placed on market by them.

(10) Persons and corporate bodies authorized for entrepreneurial business manufacturing, importing, repairing, installing, calibrating, selling, hiring and putting into operation the measuring instruments are obliged to be registered at national metrology body before the beginning of these activities by filing of appropriate declaration for the purpose to obtain the registry technical estimation.

(11) Persons and corporate bodies authorized for entrepreneurial business are forbidden to hold in the places intended for measurements in the fields of public interest listed in paragraph (1) of article 11, the measuring instruments specific to given measurements if these means are false or falsified, do not carried metrological marking with valid terms or have indications, expressed in illegal units of measurements.

[Art. 15 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 16. State inspectors for the metrological supervision and control

The legal metrological control is carried out by state inspectors of Metrological inspection body who operate according to the legislation and are under legal protection of the state. The competence of state inspectors is certified by the central metrology authority.

[Art. 16 as amended by Law No 222-XVI от 25.10.2007, came into force 21.06.2008]

Article 17. Rights of state inspectors

(1) The state inspectors, authorized to carry out activity of legal metrological control in the fields of public interest listed in paragraph (1) of article 11 have the right:

а) of access to all places where are available, applied, manufactured, repaired, stacked, mounted, stored, tested, verified, sold or hired measuring instruments or where is carried out the production packaging or the prepackaged production is stored or put up for sale;

b) to demand from persons or corporate bodies being under control the full information regarding measuring instruments and measurements subjected to the control as well as all the necessary documents;

с) to carry out inspection of the measuring instruments subjected to the legal metrological control;

d) to perform the sampling of prepackaged production;

е) to issue prescriptions about prohibition of measuring instruments use;

f) to apply the state prohibitive mark on measuring instruments, stated as illegal.

(2) At occurrence of a conflict situation during the legal metrological control or in case if business entity refuse to be controlled, state inspectors have the right to insist on control performing  and at that the law enforcement bodies should render necessary support in control or attend them if necessary.

[Art. 17 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 18. Responsibility of state inspectors

(1) The state inspectors, empowered to perform the legal metrological control are obliged to observe this law, other normative acts and normative documents regarding assurance of the uniformity and accuracy of measurements.

(2) For default of functions, misuse of powers, divulgation of official or commercial secrecy and other infringements the state inspectors bear responsibility in conformity with the legislation.

[Art. 18 as amended by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

[Chapter V excluded by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Chapter VI

INTERNATIONAL RELATIONS IN THE FIELD OF METROLOGY

Article 28. The status of Central Metrology Authority and National Metrology Body in international relations

(1) The central metrology authority together with the national metrology body represents the Republic of Moldova in the international and regional metrological organizations, co-operates on the basis of agreements (contracts) with the metrological organizations of foreign states.

(2) The central metrology authority together with the national metrology body on the basis of international agreements or by mutual consent of the parties have the right to apply the international normative documents or the documents of foreign states corresponding to fundamental international normative documents as national.

[Art. 28 changed by law No 222-XVI of 25.10.2007, came into force 21.06.2008]

Article 29. Recognition of the results of measuring instruments testing, calibration and verification.

(1) According to the concluded international (interstate) agreements (contracts) can be recognized:

а) the results of tests regarding the type approval of measuring instruments carried out in foreign states, and (or) appropriate certificates issued by these states;

b) the results of calibration and verification of measuring instruments carried out in foreign states;

с) the results of certification of reference materials carried out in foreign states.

(2) Results of the measuring instruments testing, calibration and verification carried out  in the countries signed the agreements mentioned in paragraph (1) of this article, can be recognized on demand of the business entity being the resident of the Republic of Moldova under the condition of presentation of the documents which confirm:

а) the measuring instrument manufacturing in the country which has signed the agreement;

b) the measuring instrument approval as type in the country-manufacturer;

c) the competence of the laboratory which carried out tests, calibration and verification of measuring instruments;

d) the presentation of imprint of verification mark of the laboratory mentioned in point c) of this paragraph.

(3) The national metrology body should examine documents presented according to paragraph (2) within 30 days and to make the corresponding decision about recognition. After carrying out of metrological expertise if necessary the results of metrological testing of the appropriate measuring instrument may be requested from national metrology body of country-manufacturer.

[Art. 29 changed bylaw No 222-XVI of 25.10.2007, came into force 21.06.2008]

Chapter VI1

TRANSPARENCY OF METROLOGICAL INFORMATION

[Chapter VI1 included by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

1.">Article 291. Access to any result of measurements representing public interest

(1) Citizens and other interested parties could have access to any result of measurements representing public interest, received at the initiative of the Government or transmitted to Government concerning the measurements which have been carried out in the fields of public interest listed in paragraph (1) of article 11, insofar as the disclosure of this information does not cause an inadequate prejudice to any person or company or other organization.

(2) The persons responsible for the publication or transfer to the public of measurements results may be call to justify the conformity and reliability of results of these measurements.

(3) The central metrology authority is authorized by this law to be an independent and impartial source of consultations granting regarding reliability, legality and credibility of the metrological information. The necessary for granting of such consultations expertise is carried out by entities of infrastructure of National metrology system, specified in article 12 and financed from the state budget.

[Art.291 included by Law No 222-XVI of 25.10.2007, came into force 21.06.2008]

2.">Article 292. Information concerning documents and registers of National metrology system

Interested persons could have access to information regarding the normative documents in the field of metrology, to the state registers of measuring instruments, persons and corporate bodies registered in National metrology system, legal procedures of measurements and legal metrological norms.

[Art.292 included by Law No 222-XVI оf 25.10.2007, came into force 21.06.2008]

Chapter VII

RESPONSABILITY FOR INFRINGEMENT OF THIS LAW

Article 30. Administrative, criminal and civil responsibility

Persons and corporate bodies, including public authority bodies, culpable of infringement of this law, bear administrative, criminal or civil responsibility according to the legislation.

Article 31. Property responsibility of business entities for infringement of metrological requirements

(1) Infringement of metrological requirements by business entities brings the imposition of a penalty:

а) at the rate of 25 percent against cost of the sold measuring instruments – for the sold of measuring instruments done not pass the metrological certification, not approved by national metrology body or excluded from the State register;

b) at the rate of 50 minimum wages - for use in activity of not verified or faulty measuring instruments;

с) at the rate of 100 minimum wages - for use in activity of measuring instruments with deliberately changed metrological characteristics;

d) at the rate of 300 minimum wages - for use in activity of measuring instruments contrary to the interdiction of national metrology body;

е) at the rate of 50 percent against cost of the sold measuring instruments - for the sold of measuring instruments contrary to the interdiction of national metrology body.

(2) The decision about imposing of the penalties prescribed by this article is handed over to the business entity personally or sent by post in five-day term from the date of decision-making. The decision becomes definitive after 15 days from the date of its reception by the business entity.

(3) In default of penalty payment by the business entity in 15-day term from the date of when the decision about the imposition of a penalty became definitive, this decision is transferred to banking institutions with the collection order for incontestable recovery of penalty from the account. In case of lack of financial assets on the account the executive document in   30-day term is withdrawn and lodged with the corresponding proof for execution to the judicial executor in order established by the Executive code.

(4) Penalty payment does not release the business entity of obligation to repair a prejudice for infringements of consumer rights.

[Art.31 changed by law No 64-XVI оf 30.03.06, came into force 28.04.06]

[Art.31 changed by law No 176-XV оf 03.06.04, came into force 09.07.04]

Chapter VIII

FINANCING OF METROLOGICAL ACTIVITY

Article 32. Financing of public metrological activity

Sources of financing of metrological works and services are:

а) special-purpose budgetary resources, directed to:

- public contract financing;

- developing, improving, conservation and application of national measurements standards;

- research in the field of metrology;

- maintenance and procurement of equipment, needed for instrumentation of national metrology body;

- elaboration of normative documents regarding assurance of uniformity and accuracy of measurements;

- performing of legal metrological control;

b) own funds consisting of expenses intended for maintenance and attendance of existing reference base of national metrology body, joining  the international (interstate) organizations and membership payments which are included in the cost of metrological works and services rendered by structural divisions of national metrology body and are accumulated on the separate account for target use;

с) deductions at the rate of 5 percents from cost of tests carried out in the accredited testing laboratories, used for performing of audit control according to the international practice.

d) funds allocated by interested business entities, including public organizations.

[Art.32 changed by law No 222-XVI оf 25.10.2007, came into force 21.06.2008]

Article 33. Financing of business entity metrological activity

The financing of business entity metrological activity is provided at the expense of their own means.

[Chapter IX excluded bylaw No 222-XVI оf 25.10.2007, came into force 21.06.2008]